## Disclaimer
Demonstartion spreadsheet
Concerns EPB standard:
ISO/WD 52000-1, Energy performance of buildings — Overarching EPB assessment – Part 1: General framework and procedures
DISCLAIMER:
· This spreadsheet has been developed in the framework of the preparation and revision of the set of EN or ISO standards on the energy performance of buildings, to support the European "Energy Performance of Buildings Directive" recast (EPBD-recast, directive 2010/31/EU).
· It is meant for use by CEN and ISO technical committee(s) and the working group(s) working on the preparation or revision of the EPB-standard to which this spreadsheet applies. The spreadsheet supports checking that all equations in the developed standard are consistent and can be linked with other relevant standards. It is not meant to perform a full or partial energy performance calculation.
· The spreadsheet supports the expert user of the standards, in particular those who want to review the content of the standard and those who want to translate the standard to a software, to understand the correct interpretation of the equations and calculation steps in the standard.
· Although it has been developed with care, neither the technical committee(s), nor the working group(s) and experts related to the EPB- standard to which this spreadsheet applies warrant that the calculations and procedures in this spreadsheet are free of errors. The technical committees as well as the working groups and their respective members expressly disclaim any liability or responsibility arising from use of this spreadsheet, or any consequences thereof. Any responsibility arising from the use of this spreadsheet lies with the user.
DRAFT VERSION:
· As long as the associated EPB standard or any of the other EPB standards to which it is directly linked are in a draft stage, this spreadsheet is also a draft version only.
WARNINGS:
· Note that the spreadsheet may not allow testing all calculation options that are possible according to the standard to which it applies. This remark applies in particular but not only to limitations on the number instances of a variable that can be considered.
· In case of differences, the standard should be regarded as the reference, not the spreadsheet. However, during the standard's drafting phase, shortcomings in the draft standard may have been detected and dealt with in the spreadsheets (ideally, such differences are marked).
· Note also that these spreadsheets are purely intended for testing and demonstration and therefore not aiming to be user friendly or to be protected against wrong or improper use.
TERMS OF USE:
· The user is not allowed to redistribute a modified version of this spreadsheet.
· The author(s) would appreciate your feed back on the spreadsheet via the comment sheets for the associated draft standard to be prepared by the national standards bodies during enquiry of the draft standard(s),
Intended use of this document Those responsible for the drafting of actual individual EPB standards shall - read and understand the following documents - prCEN/TS 16628 Basic Principles (in short "BP") - prCEN/TS 16629 Detailed Technical Rules (in short "DTR") - ISO/DIS 52000-1:2015 ("Overarching Standard", in short "OA")) - pr ISO/TR 52000-2: 2015 Technical report to overarching standard; - Prepare their individual EPB standard according to CEN rules, BP, DTR and OA - Prepare the accompanying technical report using the dedicated template - Prepare an accompanying XLS spreadsheet, to demonstrate inputs, output and calculation chain. This sample excel spreadsheet provides a demonstration of specific features of ISO/DIS 52000-1 to help in this task.
THIS SHEET IS A DEMONSTRATION OF SPECIFIC FEATURES OF ISO/DIS 52000-1 This sheet is intended to demonstrate the procedure for - the identification of delivered and exported electricity components - weighting procedure, using Step A - Step B approach - use of time dependent weighting factors. A temporary dummy matching function was defined in the sheet "Fmatch"

## INFO
Introduction
This file demonstrates the evaluation of the interaction between electricity production and the grid and the weighting of delivered and exported energy using constant or time dependent weighting factors. The weighting is performed both with renewable and non-renewable primary energy. Intermediate results for step A are shown. The RER is calculated but there is no filter on the origin of the renewable energy. The delivered energy used to produce on-site electricity is taken into account.
Please input the desired values:
typing a value in the cells with a yellow background |  |  |  | 8
pressing the up/down arrows of the selectors |  |  |  |  | 10
Legenda
40 | Input data | <-- Please type values only in these cells!
185 | default format, unweighted energy
511 | Non renewable primary energy
185 | Renewable primary energy
696 | Total primary energy
The sheets are protected without password to prevent unintentional disruption of the calculation chain..
To modify the sheets, remove the protection.
Information displayed
The calculation is performed for 12 calculation time steps, named as months.
Column D, on the left, contains the reference to the equation used in the same line.
The name, symbol and units of each value is shown in columns E to G
The annual value, when relevant, is shown in column H
The time step values are shown in columns I to T
Column W shows the equation used in that line (equation number in column D)
Column X and arrows on columns W and X includes comments about the calculation procedure.
Calculation procedure
Data input
The data input is described and commented in the arrows in columns W and X.
The following data can be inserted
Constant primary energy factor, including three options for the stepA average primary energy factor of on-site electricity
Time dependent primary energy factor (not needed if you use constant factors)
1 | 1 | 1 | 1 | 1 | 1 | 1
k exp parameter (see comments in the sheet)
Electricity production and use patterns. They are introduce via a maximum value and a percentage profile for each time step. The maximum value is quickly adapted with the buttons and the result is shown in the graph
The calculation result is shown (repeated) below the input for quick reference.
Calculate unweighted components of delivered and exported energy
See notes in columns W and X for details
Calculate weighted delivered energy
This deals with the energy used to produce on-site electricity (typically PV or cogen) and with grid delivered electricity
The delivered energy used to produce on-site electricity is included to give a practical meaning to the calculated energy performance. Taking into account this delivered enrgy means simulating and all electric EPB system.
Calculate weighted exported energy according to the resources used to produce the exported energy (step A)
See notes in columns W and X for details
Calculate the effect of exported energy if included in the energy performance (step B)
See notes in columns W and X for details
FINAL CALCULATION RESULT (Weighted energy performance)
This is the complete result of the energy performance calculation.
SIMPLIFIED BALANCE WITH TIME INDEPENDENT (CONSTANT) CONVERSION FACTORS
This is a simplified balance that can be done if constant weighting factaors are assumed.
Please note that time dependent factors may be originated by: costs, cogen production at variable load, etc.
Diagram
The diagrams display the components of delivered and exported energy before application of the krdel factor
The values for one time step (month) or for the entire calcualtion period can be displayed. The selctor is on the right of the top diagram.

## Calculation
|  | Eq. Nr. | Description, symbol and unit |  |  | Yearly total | Time-step balance (monthly as an example) | [11 empty] | Eq. Nr. | EQUATION | COMMENTS NOTES
[7 empty] | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
INPUT DATA
PRIMARY ENERGY CONVERSION FACTORS AND CALCULATION PARAMETERS
Time independent (constant) EP factors (specify values in yellow cells)
|  |  | On site electricity production type |  |  |  | Time-step balance (monthly as an example) FEB: fPren; Time-step balance (monthly as an example) APR: fPnren
[5 empty] | PV |  | Time-step balance (monthly as an example) FEB: 1; Time-step balance (monthly as an example) APR: 0
[5 empty] | CHP fossil |  | Time-step balance (monthly as an example) FEB: 0; Time-step balance (monthly as an example) APR: 0.85
[5 empty] | CHP ren |  | Time-step balance (monthly as an example) FEB: 1.1; Time-step balance (monthly as an example) APR: 0
|  |  | Electricity conversion factors |  |  |  | Time-step balance (monthly as an example) FEB: Renewable; Time-step balance (monthly as an example) APR: Non renew; Time-step balance (monthly as an example) JUN: Total
[8 empty] | fPren |  | fPnren |  | fPtot
1 |  |  | Produced on-site | fP,pr,el |  |  | Time-step balance (monthly as an example) FEB: 1; Time-step balance (monthly as an example) APR: 0; Time-step balance (monthly as an example) JUN: 1
|  |  | Grid delivered | fP,del,el |  |  | Time-step balance (monthly as an example) FEB: 0.5; Time-step balance (monthly as an example) APR: 2; Time-step balance (monthly as an example) JUN: 2.5
|  |  | Exported for non EPBD uses | fP,exp,el,used,nEPus |  |  | Time-step balance (monthly as an example) FEB: 0.5; Time-step balance (monthly as an example) APR: 2; Time-step balance (monthly as an example) JUN: 2.5
|  |  | Grid exported | fP,exp,el,grid |  |  | Time-step balance (monthly as an example) FEB: 0.5; Time-step balance (monthly as an example) APR: 2; Time-step balance (monthly as an example) JUN: 2.5
Time dependent EP factors for grid electricity (specify values in yellow cells)
[7 empty] | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  |  | Produced on site | fP;ren;pr;el;t |  |  | 1 | 1 | 1 | 1.1 | 0.8 | 0.8 | 0.9 | 1 | 0.7 | 1 | 1 | 1
|  |  |  | fP;nren;pr;el,t |  |  | 0 | 0 | 0 | 0.6 | 0.7 | 0.7 | 0.25 | 0 | 0 | 0 | 0 | 0
Time dependent EP factors
|  |  | Grid delivered | fP;ren;del;el,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Constant (time independent) EP factors
|  |  |  | fP;nren;del;el,t |  |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 3 | 3 | 3 | 2.5 | 2.5 | 2.5 | 2.5
|  |  | Exported to grid | fP;ren;exp;el,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | fP;nren;exp;el,t |  |  | 2.6 | 2.8 | 2.8 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2 | 2.5
2
|  |  | kexp Factor controlling inclusion of exported energy |  |  |  | JAN: 1; FEB: Step B adds to the energy performance of the building the effect of the exported energy on the grid generators, e.g. the avoided primary energy of the grid generators thank to the exported energy. Setting to 0 means that the effect of exported erngy is ignored (= STEP A again). Setting to 1 includes the effect of exported energy. Any intermedaite value is possibile. Step B evaluation is not affected by the choice on step A evaluation if the PEF for exported and temporary exported are set equal.
|  |  | fmatch Factor to take into account simultaneity of production and use |  |  |  | JAN: NO; MAR: k; APR: 1; MAY: n; JUN: 1
PRODUCED AND USED ELECTRICITY (OPERATING CONDITIONS DATA FROM PREVIOUS CALCULATION)
[7 empty] | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  |  | EPB uses profile |  | % |  | 100 | 80 | 50 | 45 | 25 | 30 | 40 | 35 | 25 | 40 | 60 | 80
|  |  | NON - EPB uses profile |  | % |  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  |  | On-site electricity production profile |  | % |  | 20 | 25 | 35 | 50 | 85 | 95 | 100 | 90 | 80 | 60 | 40 | 25
Peak EPB uses
200 |  |  |  | 200
Peak NON - EPB uses
30 |  |  |  | 30
Peak electricity production
220 |  |  |  | 220
|  | Eq. Nr. | DESCRIPTION | SYMBOL | UNIT | YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
70 kWh | 70 | (29) | EPB uses | EEPus;el;t | kWh | 1220 | 200 | 160 | 100 | 90 | 50 | 60 | 80 | 70 | 50 | 80 | 120 | 160 | 29 |  | The terms in the sums are an input to ISO 52000-1 calculation
30 kWh | 30 |  | non EPB uses | EnEPus;el;t |  | 360 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | -- |  | This is a direct input to ISO 52000-1 coming from ISO 52016-1
198 kWh | 198 | (30) | Produced electricity | Epr;el;t | kWh | 1551 | 44 | 55 | 77 | 110 | 187 | 209 | 220 | 198 | 176 | 132 | 88 | 55 | 30 |  | The terms in the sum are an input to ISO 52000-1 calculation
FINAL CALCULATION RESULT (OUTPUT)
|  |  | Weighted EP | EPren | kWh | 1385.5 | 122 | 107.5 | 88.5 | 100 | 118.5 | 134.5 | 150 | 134 | 113 | 106 | 104 | 107.5 |  |  | Just added here for ease of consultation
|  |  |  | EPnren | kWh | -662 | 312 | 210 | 46 | -40 | -274 | -298 | -280 | -256 | -252 | -104 | 64 | 210
|  |  |  | EPtot | kWh | 723.5
|  |  | Renewable energy ratio | RER | 1.915
CALCULATION PROCEDURE
Calculate unweighted components of delivered and exported energy
|  | Eq. Nr. | DESCRIPTION | SYMBOL | UNIT | YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  | (-) | Ratio produced/used |  |  |  | 0.22 | 0.34375 | 0.77 | 1.2222 | 3.74 | 3.4833 | 2.75 | 2.8286 | 3.52 | 1.65 | 0.73333 | 0.34375 | -
Use matching factor? | bar: JAN
|  | (32) | Matching factor, t | fmatch | [14 empty] | 32 | bar: JAN to DEC
70 kWh | 70 | (31) | EPB Used electricity | Epr;el;used;EPus;t | kWh | 799 | 44 | 55 | 77 | 90 | 50 | 60 | 80 | 70 | 50 | 80 | 88 | 55 | 31
128 kWh | 128 | (33) | Exported electricity | Eexp;el;t | kWh | 752 | 0 | 0 | 0 | 20 | 137 | 149 | 140 | 128 | 126 | 52 | 0 | 0 | 33
30 kWh | 30 | (34) | Exported for non EPB uses | Epr;el;used;nEPus;t | kWh | 200 | 0 | 0 | 0 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 34
98 kWh | 98 | (35) | Grid exported, t | Eexp;el;grid;t | kWh | 552 | 0 | 0 | 0 | 0 | 107 | 119 | 110 | 98 | 96 | 22 | 0 | 0 | 35
0 kWh | 0 | (36) | Grid exported, year | Eexp;el;grid;an | kWh | 552 | [12 empty] | 36
0 kWh | 0 | (37) | Grid delivered, t | Edel;el,t | kWh | 421 | 156 | 105 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 105 | 37
0 kWh | 0 | (38) | Grid delivered, year | Edel;el;an | kWh | 421 | [12 empty] | 38
|  |  | Calculate weighted delivered energy | [17 empty] | In the following equations are used twice: - once for renewable primary energy evaluation - once for non renewable primary energy evaluation The entire calculation shall be performed independently for each weighting criteria. Values of krdel and kexp can also be different. For the evaluation according to all types of primary energy, values of krdel and kexp shall be the same
|  | Eq. Nr. | DESCRIPTION | SYMBOL | UNIT | YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  |  | Weighting factors for delivered energy |  |  | You have selected: Constant (time independent) EP factors | [13 empty] | Just a reminder of your selection
|  |  | Produced electricity | fPren;pr;el,t | [15 empty] | Copied input value for clarity | bar: JAN to DEC
|  |  | Produced electricity | fPnren;pr;el,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Copied input value for clarity
|  |  | Delivered energy | fPren;del;el,t |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 |  | Copied input value for clarity
|  |  | Delivered energy | fPnren;del;el,t |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | Copied input value for clarity
|  | (39) | Electricity production | EPren;del;cr;t | kWh | 1551 | 44 | 55 | 77 | 110 | 187 | 209 | 220 | 198 | 176 | 132 | 88 | 55 | 39 |  | This is the contribution to delivered energy of the energy carrier used to produce on-site electricity
|  | (39) |  | EPnren;del;cr;t | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 |  | The input to the generation device is a delivered energy which is not exported. It is not part of the electric energy balance.
|  | (19) | Grid delivered electricity | EPren;del;el;t | kWh | 210.5 | 78 | 52.5 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 52.5 | 19 |  | This is the contribution to delivered energy of the electric energy taken from the grid
|  | (19) |  | EPnren;del;el;t | kWh | 842 | 312 | 210 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 210 | 19
Calculate weighted exported energy according to the resources used to produce the exported energy (step A)
Weighting factors for exported energy at step A
|  |  | Exported for non EPBD uses | fPren;exp;el;stepA,t | [15 empty] | All factors shall be the same as produced el. | bar: JAN to DEC
|  |  | Exported for non EPBD uses | fPnren;exp;el;stepA,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | They are copied here for clarity
|  |  | Grid exported | fPren;exp;el;stepA,t | bar: JAN to DEC
|  |  | Grid exported | fPnren;exp;el;stepA,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Calculation
|  | (24) | Exp. For non EPB uses | EPren;exp;el;used;nePus;t;A | kWh | 200 | 0 | 0 | 0 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 24
|  | (24) |  | EPnren;exp;el;used;nePus;t;A | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24
|  | (25) | Grid exp. electricity | EPren;exp;el;grid;t;A | kWh | 552 | 0 | 0 | 0 | 0 | 107 | 119 | 110 | 98 | 96 | 22 | 0 | 0 | 25
|  | (25) |  | EPnren;exp;el;grid;t;A | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
|  | (23) | Step A weighted exported | EPren;exp;el;t;A | kWh | 752 | 0 | 0 | 0 | 20 | 137 | 149 | 140 | 128 | 126 | 52 | 0 | 0 | 23
|  | (23) |  | EPnren;exp;el;t;A | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23
|  |  | Step A EP;ren | 1009.5 | 1009.5 |  | 122 | 107.5 | 88.5 | 90 | 50 | 60 | 80 | 70 | 50 | 80 | 104 | 107.5 |  | Weighted delivered - weighted exported
|  |  | Step A EP;nren | 842 | 842 |  | 312 | 210 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 210 |  | Result if the calculation is stopped at step A
|  |  | Step A EP;tot |  | 1851.5 | [14 empty] | For information only
|  |  | RER |  | 0.54523
Calculate the effect of exported energy if included in the energy performance (step B)
|  | Eq. Nr. | DESCRIPTION | SYMBOL | UNIT | YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  |  | Weighting factors for exported energy at step B |  |  |  | JAN: You have selected: Constant (time independent) EP factors
|  |  | Exported for non EPBD uses | fPren;exp;el,t |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
|  |  | Exported for non EPBD uses | fPnren;exp;el,t |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
|  |  | Grid exported | fPren;exp;el,t |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
|  |  | Grid exported | fPnren;exp;el,t |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Calculation
|  | (27) | Exp. For non EPB uses | EPren;exp;el;used;nePus;t;AB | kWh | -100 | 0 | 0 | 0 | -10 | -15 | -15 | -15 | -15 | -15 | -15 | 0 | 0 | 27
|  | (27) |  | EPnren;exp;el;used;nePus;t;AB | kWh | 400 | 0 | 0 | 0 | 40 | 60 | 60 | 60 | 60 | 60 | 60 | 0 | 0 | 27
|  | (28) | Grid exp. electricity | EPren;exp;el;grid;t;AB | kWh | -276 | 0 | 0 | 0 | 0 | -53.5 | -59.5 | -55 | -49 | -48 | -11 | 0 | 0 | 28
|  | (28) |  | EPnren;exp;el;grid;t;AB | kWh | 1104 | 0 | 0 | 0 | 0 | 214 | 238 | 220 | 196 | 192 | 44 | 0 | 0 | 28
|  | (26) | Weighted exp. inclusion | EPren;exp;el;t;AB | kWh | -376 | 0 | 0 | 0 | -10 | -68.5 | -74.5 | -70 | -64 | -63 | -26 | 0 | 0 | 26
|  | (26) |  | EPnren;exp;el;t;AB | kWh | 1504 | 0 | 0 | 0 | 40 | 274 | 298 | 280 | 256 | 252 | 104 | 0 | 0 | 26
The above equations may also be broken in the following way
|  |  | STEP B "cost" |  |  | 752 | 0 | 0 | 0 | 20 | 137 | 149 | 140 | 128 | 126 | 52 | 0 | 0 |  | These equations are 19-20-21 rearranged
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | with the three positive and 3 negative
|  |  | STEP B "benefit" |  |  | 376 | 0 | 0 | 0 | 10 | 68.5 | 74.5 | 70 | 64 | 63 | 26 | 0 | 0 |  | terms together
[6 empty] | 1504 | 0 | 0 | 0 | 40 | 274 | 298 | 280 | 256 | 252 | 104 | 0 | 0
|  |  | Weighted exp. inclusion | EPren;exp;el;t;AB | kWh | -376 | 0 | 0 | 0 | -10 | -68.5 | -74.5 | -70 | -64 | -63 | -26 | 0 | 0
|  |  |  | EPnren;exp;el;t;AB | kWh | 1504 | 0 | 0 | 0 | 40 | 274 | 298 | 280 | 256 | 252 | 104 | 0 | 0
|  |  | Exported energy factor | kexp | - | 1 | [13 empty] | Repeated as a reminder
|  | (20) | Weighted exported | EPren;exp;el;t | kWh | 376 | 0 | 0 | 0 | 10 | 68.5 | 74.5 | 70 | 64 | 63 | 26 | 0 | 0 | 20
|  | (20) |  | EPnren;exp;el;t | kWh | 1504 | 0 | 0 | 0 | 40 | 274 | 298 | 280 | 256 | 252 | 104 | 0 | 0 | 20
FINAL CALCULATION RESULT
|  | (2) | Weighted EP | EPren | kWh | 1385.5 | 122 | 107.5 | 88.5 | 100 | 118.5 | 134.5 | 150 | 134 | 113 | 106 | 104 | 107.5 | 2
|  | (2) |  | EPnren | kWh | -662 | 312 | 210 | 46 | -40 | -274 | -298 | -280 | -256 | -252 | -104 | 64 | 210 | 2
|  |  |  | EPtot | kWh | 723.5
|  |  | Renewable energy ratio | RER | 1.915
SIMPLIFIED BALANCE WITH TIME INDEPENDENT (CONSTANT) CONVERSION FACTORS
STEP A
|  |  | Primary energy balance |  |  | Actual | JAN: Factor; MAR: Renewable; MAY: Non renew; JUL: Total; SEP: RER
[6 empty] | kWh | MAR: fP; APR: kWh; MAY: fP; JUN: kWh; JUL: fP; AUG: kWh
|  |  | Produced Epr,el |  |  | 1551 | MAR: 1; APR: 1551; MAY: 0; JUN: 0; JUL: 1; AUG: 1551; SEP: 1
|  |  | Grid delivered, t | fP,del,el |  | 421 | MAR: 0.5; APR: 210.5; MAY: 2; JUN: 842; JUL: 2.5; AUG: 1052.5; SEP: 0.2
|  |  | Exported for non EPB uses | fP,exp,el,used,nEPus |  | 200 | MAR: 1; APR: -200; MAY: 0; JUN: 0; JUL: 1; AUG: -200; SEP: 1
|  |  | Grid exported, t | fP,exp,el,grid |  | 552 | MAR: 1; APR: -552; MAY: 0; JUN: 0; JUL: 1; AUG: -552; SEP: 1
|  |  | TOTAL |  |  | 1220 | APR: 1009.5; JUN: 842; AUG: 1851.5; SEP: 0.54523
STEP B
|  |  | Exported for non EPB uses | fP,exp,el,used,nEPus |  | 200 | Kexp | 1 | 1 | 200 | 0 | 0 | 1 | 200 | 1
|  |  | Grid exported, t | fP,exp,el,grid |  | 552 | MAR: 1; APR: 552; MAY: 0; JUN: 0; JUL: 1; AUG: 552; SEP: 1
|  |  | Exported for non EPB uses | fP,exp,el,used,nEPus |  | 200 | MAR: 0.5; APR: -100; MAY: 2; JUN: -400; JUL: 2.5; AUG: -500; SEP: 0.2
|  |  | Grid exported, t | fP,exp,el,grid |  | 552 | MAR: 0.5; APR: -276; MAY: 2; JUN: -1104; JUL: 2.5; AUG: -1380; SEP: 0.2
[10 empty] | 1385.5 |  | -662 |  | 723.5 | 1.915
[5 empty] | 0 | 0 | 0 | 0 | -107 | -119 | -110 | -98 | -96 | -22 | 0 | 0
Select wether you want to take into account a matching factor and define function properties. See graph on the right
"COST": primary energy to produce the exported energy
"BENEFIT": avoided primary enErgy of grid generators
"COST": primary energy to produce the exported energy
"BENEFIT": avoided primary enrgy of grid generators
In STEP A
- the delivered energy PEF may vary
- the production mix may vary
- the 3 types of exported electricity PEF are all the same as the produced electricity PEF.
In STEP B
- the exported energy PEF may vary but should be the same as the deliverd energy PEF because this is in any case a replacement of the same grid generators (you are replacing what you would have accepted as deliverd)
Insert in the yellow cell the typical value of step A conversion factor for the different types of on-site generated electricity..
For CHP the conversion factor depends on the selected allocation method.
It is not the primary factor of the fuel of the CHP but the resulting equivalent primary energy factor for the electricity generated by the CHP. See example...
The first line is not part of the electric energy carrier balance in equation 1
Define here the use and production profiles as a percentage of a peak value
First part of the calculation procedure: Identify all components (delivered, temp exported, redeliverd, grid exported) in each calculation interval.
This is described in clause 11.2.4
Select which type of conversion factors you want tot use in the calculation
(constant or time dependent)
Define the peak values of the produced and used electricity pressing the up/down buttons on the left of the graph.
If you do not wan to consider non-EPB uses, set to 0 the peak NON-EPB uses (in that case blue bars on the graph shall be zero)
See your resulting profiles on the graph and on the underlying tables
Select the conversion factor you want to use for on-site generated electricity
Insert in the yellow cell the desired time dependent weighting (fP) factors
Insert in the yellow cell the desired kexp factor
Insert in the yellow cells the desired constant (time independent )weighting (fP) factors
GRAPH VALUES
Selection buffers
Note on F119: Laurent: Values obtained with constant conversion factors, for comparison

## Diagram
Select time interval to be displayed
9
Year
JAN
FEB
MAR
APR
MAY
JUN
JUL
AUG
SEP
OCT
NOV
DEC
GRID
EEPus;el
Epr;el
Edel;el;grid
Eexp;el;grid
Epr;el;used;EPus
Edel;el
Edel;nEPus;el
EnEPus;el
Eexp;el;used;nEPus
Eexp;el;used;nEPus
Eexp;el
Eexp;el;grid
70 kWh
30 kWh
198 kWh
70 kWh
128 kWh
30 kWh
0 kWh
98 kWh
0 kWh
30 kWh
ONST
AB-OUT
AB-IN
AB
98 kWh
0 kWh
GRID
EPB Electricity uses
On-site electric generation
Grid delivered
Grid exported
Epr;el;used;EPus
Edel;el
Edel;nEPus;el
EnEPus;el
Eexp;el;used;nEPus
Eexp;el;used;nEPus
Eexp;el
Eexp;el;nused
70 kWh
30 kWh
198 kWh
70 kWh
128 kWh
30 kWh
0 kWh
98 kWh
0 kWh
30 kWh
On site
Outside the assessment boundary
Inside the assessment boundary
AB
98 kWh
0 kWh

## Fmatch
This is a possible default matching factor function.
Perfect match is assumed when production and use are strongly unbalanced
Minimum match is assumed when production and use are the same value
Matching is relative: it is the quota of the minimum of the two.
n | 1 | <-- factor controlling "sharpness" of the correlation
k | 1 | <-- factor controlling the minimum value at 1 (1-K/2)
The example in the calculattion is with k=1 and n=1
| used | prod | prod/used | fmatch
|  |  | x | fmatch
| 100 | 0 | 0 | 1
| 100 | 10 | 0.1 | 0.90099
| 100 | 20 | 0.2 | 0.80769
| 100 | 40 | 0.4 | 0.65517
| 100 | 60 | 0.6 | 0.55882
| 100 | 80 | 0.8 | 0.5122
| 100 | 100 | 1 | 0.5
| 100 | 150 | 1.5 | 0.53846
| 100 | 200 | 2 | 0.6
| 100 | 300 | 3 | 0.7
| 100 | 400 | 4 | 0.76471
| 100 | 500 | 5 | 0.80769

## Figures_annex_L_3
GRID
EEPus;el
Epr;el
Edel;el;grid
Eexp;el;grid
Epr;el;used;EPus
Edel;el
Edel;nEPus;el
EnEPus;el
Eexp;el;used;nEPus
Eexp;el;used;nEPus
Eexp;el
Eexp;el;nused
ONST
AB-OUT
AB-IN
AB
GRID
EEPus;el
Epr;el
Edel;el;grid
Eexp;el;grid
Epr;el;used;EPus
Edel;el
Edel;nEPus;el
EnEPus;el
Eexp;el;used;nEPus
Eexp;el;used;nEPus
Eexp;el
Eexp;el;nused
ONST
AB-OUT
AB-IN
AB
GRID
EEPus;el
Epr;el
Edel;el;grid
Eexp;el;grid
Epr;el;used;EPus
Edel;el
Edel;nEPus;el
EnEPus;el
Eexp;el;used;nEPus
Eexp;el;used;nEPus
Eexp;el
Eexp;el;nused
ONST
AB-OUT
AB-IN
AB
GRID
EEPus;el
Epr;el
Edel;el;grid
Eexp;el;grid
Epr;el;used;EPus
Edel;el
Edel;nEPus;el
EnEPus;el
Eexp;el;used;nEPus
Eexp;el;used;nEPus
Eexp;el
Eexp;el;nused
ONST
AB-OUT
AB-IN
AB

## Annex calculation
| Eq. Nr. | Description, symbol and unit |  |  | Yearly total | Time-step balance (monthly as an example) | [11 empty] | Eq. Nr. | EQUATION | COMMENTS NOTES
[6 empty] | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
INPUT DATA
PRIMARY ENERGY CONVERSION FACTORS AND CALCULATION PARAMETERS
Time independent (constant) EP factors (specify values in yellow cells)
|  | On site electricity production type |  |  |  | Time-step balance (monthly as an example) FEB: fPren; Time-step balance (monthly as an example) APR: fPnren
|  |  |  | PV |  | Time-step balance (monthly as an example) FEB: 1; Time-step balance (monthly as an example) APR: 0
|  |  |  | CHP fossil |  | Time-step balance (monthly as an example) FEB: 0; Time-step balance (monthly as an example) APR: 0.85
|  |  |  | CHP ren |  | Time-step balance (monthly as an example) FEB: 1.1; Time-step balance (monthly as an example) APR: 0
|  | Electricity conversion factors |  |  |  | Time-step balance (monthly as an example) FEB: Renewable; Time-step balance (monthly as an example) APR: Non renew; Time-step balance (monthly as an example) JUN: Total
[7 empty] | fPren |  | fPnren |  | fPtot
1 |  | Produced on-site | fP,pr,el |  |  | Time-step balance (monthly as an example) FEB: 1; Time-step balance (monthly as an example) APR: 0; Time-step balance (monthly as an example) JUN: 1
|  | Grid delivered | fP,del,el |  |  | Time-step balance (monthly as an example) FEB: 0.5; Time-step balance (monthly as an example) APR: 2; Time-step balance (monthly as an example) JUN: 2.5
|  | Exported for non EPBD uses | fP,exp,el,used,nEPus |  |  | Time-step balance (monthly as an example) FEB: 0.5; Time-step balance (monthly as an example) APR: 2; Time-step balance (monthly as an example) JUN: 2.5
|  | Grid exported | fP,exp,el,grid |  |  | Time-step balance (monthly as an example) FEB: 0.5; Time-step balance (monthly as an example) APR: 2; Time-step balance (monthly as an example) JUN: 2.5
Time dependent EP factors for grid electricity (specify values in yellow cells)
[6 empty] | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  | Produced on site | fP;ren;pr;el;t |  |  | 1 | 1 | 1 | 1.1 | 0.8 | 0.8 | 0.9 | 1 | 0.7 | 1 | 1 | 1
|  |  | fP;nren;pr;el,t |  |  | 0 | 0 | 0 | 0.6 | 0.7 | 0.7 | 0.25 | 0 | 0 | 0 | 0 | 0
Time dependent EP factors
|  | Grid delivered | fP;ren;del;el,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Constant (time independent) EP factors
|  |  | fP;nren;del;el,t |  |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 3 | 3 | 3 | 2.5 | 2.5 | 2.5 | 2.5
|  | Exported to grid | fP;ren;exp;el,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | fP;nren;exp;el,t |  |  | 2.6 | 2.8 | 2.8 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2 | 2.5
2
|  | kexp Factor controlling inclusion of exported energy |  |  |  | JAN: 1; FEB: Step B adds to the energy performance of the building the effect of the exported energy on the grid generators, e.g. the avoided primary energy of the grid generators thank to the exported energy. Setting to 0 means that the effect of exported erngy is ignored (= STEP A again). Setting to 1 includes the effect of exported energy. Any intermedaite value is possibile. Step B evaluation is not affected by the choice on step A evaluation if the PEF for exported and temporary exported are set equal.
|  | fmatch Factor to take into account simultaneity of production and use |  |  |  | JAN: NO; MAR: k; APR: 1; MAY: n; JUN: 1
PRODUCED AND USED ELECTRICITY (OPERATING CONDITIONS DATA FROM PREVIOUS CALCULATION)
[6 empty] | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  | EPB uses profile |  | % |  | 100 | 80 | 50 | 45 | 25 | 30 | 40 | 35 | 25 | 40 | 60 | 80
|  | NON - EPB uses profile |  | % |  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  | On-site electricity production profile |  | % |  | 20 | 25 | 35 | 50 | 85 | 95 | 100 | 90 | 80 | 60 | 40 | 25
Peak EPB uses
200 |  |  | 200
Peak NON - EPB uses
30 |  |  | 30
Peak electricity production
220 |  |  | 220
| Eq. Nr. | DESCRIPTION | SYMBOL | UNIT | YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
CALCULATION RESULT (OUTPUT)
|  | Weighted EP | EPren | kWh | 1385.5 | 122 | 107.5 | 88.5 | 100 | 118.5 | 134.5 | 150 | 134 | 113 | 106 | 104 | 107.5
|  |  | EPnren | kWh | -662 | 312 | 210 | 46 | -40 | -274 | -298 | -280 | -256 | -252 | -104 | 64 | 210
|  |  | EPtot | kWh | 723.5
|  | Renewable energy ratio | RER | 1.915
CALCULATION PROCEDURE
Calculate unweighted components of delivered and exported energy
| Eq. Nr. | DESCRIPTION | SYMBOL | UNIT | YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
| (29) | EPB uses | EEPus;el;t | kWh | 1220 | 200 | 160 | 100 | 90 | 50 | 60 | 80 | 70 | 50 | 80 | 120 | 160 | 29 |  | The terms in the sums are an input to EN 15603 calculation
|  | non EPB uses | EnEPus;el;t |  | 360 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | -- |  | This is a direct input to EN 15603 coming from EN 13790
| (30) | Produced electricity | Epr;el;t | kWh | 1551 | 44 | 55 | 77 | 110 | 187 | 209 | 220 | 198 | 176 | 132 | 88 | 55 | 30 |  | The terms in the sum are an input to EN 15603 calculation
| (-) | Ratio produced/used |  |  |  | 0.22 | 0.34375 | 0.77 | 1.2222 | 3.74 | 3.4833 | 2.75 | 2.8286 | 3.52 | 1.65 | 0.73333 | 0.34375 | -
Use matching factor? | bar: JAN
| (32) | Matching factor, t | fmatch | [14 empty] | 32 | bar: JAN to DEC
| (31) | EPB Used electricity | Epr;el;used;EPus;t | kWh | 799 | 44 | 55 | 77 | 90 | 50 | 60 | 80 | 70 | 50 | 80 | 88 | 55 | 31
| (33) | Exported electricity | Eexp;el;t | kWh | 752 | 0 | 0 | 0 | 20 | 137 | 149 | 140 | 128 | 126 | 52 | 0 | 0 | 33
| (34) | Exported for non EPB uses | Epr;el;used;nEPus;t | kWh | 200 | 0 | 0 | 0 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 34
| (35) | Grid exported, t | Eexp;el;grid;t | kWh |  | 0 | 0 | 0 | 0 | 107 | 119 | 110 | 98 | 96 | 22 | 0 | 0 | 35
| (36) | Grid exported, year | Eexp;el;grid;an | kWh | 552 | [12 empty] | 36
| (37) | Grid delivered, t | Edel;el;t | kWh |  | 156 | 105 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 105 | 37
| (38) | Grid delivered, year | Edel;el;an | kWh | 421 | [12 empty] | 38
| Eq. Nr. | DESCRIPTION | SYMBOL | UNIT | YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
|  | Weighting factors for delivered energy |  |  | You have selected: Constant (time independent) EP factors | [13 empty] | Just a reminder of your selection
|  | Produced electricity | fPren;pr;el,t | [15 empty] | Copied input value for clarity | bar: JAN to DEC
|  | Produced electricity | fPnren;pr;el,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Copied input value for clarity
|  | Delivered energy | fPren;del;el,t |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 |  | Copied input value for clarity
|  | Delivered energy | fPnren;del;el,t |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | Copied input value for clarity
|  | Produced electricity | Epr;el;t | kWh | 1551 | 44 | 55 | 77 | 110 | 187 | 209 | 220 | 198 | 176 | 132 | 88 | 55
| (30) |  | EPren;del;cr;t | kWh | 1551 | 44 | 55 | 77 | 110 | 187 | 209 | 220 | 198 | 176 | 132 | 88 | 55 | 30 |  | This is the contribution to delivered energy of the energy carrier used to produce on-site electricity
| (30) |  | EPnren;del;cr;t | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 |  | The input to the generation device is a delivered energy which is not exported. It is not part of the electric energy balance.
|  | Grid delivered electricity | Edel;el;t | kWh | 421 | 156 | 105 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 105
| (19) |  | EPren;del;el;t | kWh | 210.5 | 78 | 52.5 | 11.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 52.5 | 19 |  | This is the contribution to delivered energy of the electric energy taken from the grid
| (19) |  | EPnren;del;el;t | kWh | 842 | 312 | 210 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 210 | 19
Weighting factors for exported energy at step A
Calculation
|  | Exp. For non EPB uses | Epr;el;used;nEPus;t | kWh | 200 | 0 | 0 | 0 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0
|  |  | fPren;exp;el;stepA,t | [15 empty] | All factors shall be the same as produced el. | bar: JAN to DEC
|  |  | fPnren;exp;el;stepA,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | They are copied here for clarity
| (24) |  | EPren;exp;el;used;nePus;t;A | kWh | 200 | 0 | 0 | 0 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 24
| (24) |  | EPnren;exp;el;used;nePus;t;A | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24
|  | Grid exp. electricity | Eexp;el;grid;t | kWh | 552 | 0 | 0 | 0 | 0 | 107 | 119 | 110 | 98 | 96 | 22 | 0 | 0
fPren;exp;el;stepA,t | bar: JAN to DEC
|  |  | fPnren;exp;el;stepA,t |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (25) |  | EPren;exp;el;grid;t;A | kWh | 552 | 0 | 0 | 0 | 0 | 107 | 119 | 110 | 98 | 96 | 22 | 0 | 0 | 25
| (25) |  | EPnren;exp;el;grid;t;A | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
| (23) | Step A weighted exported | EPren;exp;el;t;A | kWh | 752 | 0 | 0 | 0 | 20 | 137 | 149 | 140 | 128 | 126 | 52 | 0 | 0 | 23
| (23) |  | EPnren;exp;el;t;A | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23
|  | Step A EP;ren |  | 1009.5 |  | 122 | 107.5 | 88.5 | 90 | 50 | 60 | 80 | 70 | 50 | 80 | 104 | 107.5 |  | Weighted delivered - weighted exported
|  | Step A EP;nren |  | 842 |  | 312 | 210 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 210 |  | Result if the calculation is stopped at step A
|  | Step A EP;tot |  | 1851.5 | [14 empty] | For information only
|  | RER Step A |  | 0.54523
|  | Weighting factors for exported energy at step B |  |  |  | JAN: You have selected: Constant (time independent) EP factors
|  | Exported for non EPBD uses | fPren;exp;el,t |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
|  | Exported for non EPBD uses | fPnren;exp;el,t |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
|  | Grid exported | fPren;exp;el,t |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
|  | Grid exported | fPnren;exp;el,t |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Calculation
| (27) | Exp. For non EPB uses | EPren;exp;el;used;nePus;t;AB | kWh | -100 | 0 | 0 | 0 | -10 | -15 | -15 | -15 | -15 | -15 | -15 | 0 | 0 | 27
| (27) |  | EPnren;exp;el;used;nePus;t;AB | kWh | 400 | 0 | 0 | 0 | 40 | 60 | 60 | 60 | 60 | 60 | 60 | 0 | 0 | 27
| (28) | Grid exp. electricity | EPren;exp;el;grid;t;AB | kWh | -276 | 0 | 0 | 0 | 0 | -53.5 | -59.5 | -55 | -49 | -48 | -11 | 0 | 0 | 28
| (28) |  | EPnren;exp;el;grid;t;AB | kWh | 1104 | 0 | 0 | 0 | 0 | 214 | 238 | 220 | 196 | 192 | 44 | 0 | 0 | 28
| (26) | Weighted exp. inclusion | EPren;exp;el;t;AB | kWh | -376 | 0 | 0 | 0 | -10 | -68.5 | -74.5 | -70 | -64 | -63 | -26 | 0 | 0 | 26
| (26) |  | EPnren;exp;el;t;AB | kWh | 1504 | 0 | 0 | 0 | 40 | 274 | 298 | 280 | 256 | 252 | 104 | 0 | 0 | 26
|  | Exported energy factor | kexp | - | 1 | [13 empty] | Repeated as a reminder
| (20) | Weighted exported | EPren;exp;el;t | kWh | 376 | 0 | 0 | 0 | 10 | 68.5 | 74.5 | 70 | 64 | 63 | 26 | 0 | 0 | 20
| (20) |  | EPnren;exp;el;t | kWh | 1504 | 0 | 0 | 0 | 40 | 274 | 298 | 280 | 256 | 252 | 104 | 0 | 0 | 20
| (2) | Weighted EP | EPren | kWh | 1385.5 | 122 | 107.5 | 88.5 | 100 | 118.5 | 134.5 | 150 | 134 | 113 | 106 | 104 | 107.5 | 2
| (2) |  | EPnren | kWh | -662 | 312 | 210 | 46 | -40 | -274 | -298 | -280 | -256 | -252 | -104 | 64 | 210 | 2
|  |  | EPtot | kWh | 723.5
|  | Renewable energy ratio | RER | 1.915
SIMPLIFIED BALANCE WITH TIME INDEPENDENT (CONSTANT) CONVERSION FACTORS
STEP A
|  | Primary energy balance |  |  | Actual | JAN: Factor; MAR: Renewable; MAY: Non renew; JUL: Total; SEP: RER
[5 empty] | kWh | MAR: fP; APR: kWh; MAY: fP; JUN: kWh; JUL: fP; AUG: kWh
|  | Produced | Epr,el |  | 1551 | MAR: 1; APR: 1551; MAY: 0; JUN: 0; JUL: 1; AUG: 1551; SEP: 1
|  | Grid delivered, t | fP,del,el |  | 421 | MAR: 0.5; APR: 210.5; MAY: 2; JUN: 842; JUL: 2.5; AUG: 1052.5; SEP: 0.2
|  | Exported for non EPB uses | fP,exp,el,used,nEPus |  | 200 | MAR: 1; APR: -200; MAY: 0; JUN: 0; JUL: 1; AUG: -200; SEP: 1
|  | Grid exported, t | fP,exp,el,grid |  | 552 | MAR: 1; APR: -552; MAY: 0; JUN: 0; JUL: 1; AUG: -552; SEP: 1
|  | TOTAL |  |  | 1220 | APR: 1009.5; JUN: 842; AUG: 1851.5; SEP: 0.54523
STEP B
|  | Exported for non EPB uses | fP,exp,el,used,nEPus |  | 200 | Kexp | 1 | 1 | 200 | 0 | 0 | 1 | 200 | 1
|  | Grid exported, t | fP,exp,el,grid |  | 552 | MAR: 1; APR: 552; MAY: 0; JUN: 0; JUL: 1; AUG: 552; SEP: 1
|  | Exported for non EPB uses | fP,exp,el,used,nEPus |  | 200 | MAR: 0.5; APR: -100; MAY: 2; JUN: -400; JUL: 2.5; AUG: -500; SEP: 0.2
|  | Grid exported, t | fP,exp,el,grid |  | 552 | MAR: 0.5; APR: -276; MAY: 2; JUN: -1104; JUL: 2.5; AUG: -1380; SEP: 0.2
[9 empty] | 1385.5 |  | -662 |  | 723.5 | 1.915
[6 empty] | 0 | 0 | 0 | 0 | -107 | -119 | -110 | -98 | -96 | -22 | 0 | 0